#50950 FACE SHIELD – INSTRUCTIONS FOR USE

- PEEL MASKING OFF BOTH SIDES OF CLEAR SHIELD

- ATTACH MIDDLE LOCATOR HOLE ON CLEAR SHIELD TO MDDLE LOCATOR POINT ON FRONT OF HEADBAND

- PUSH FIRMLY OVER EACH LOCATOR POINT MOVING FROM CENTRE OUTWARDS

- USING ADJUSTABLE ELASTIC, ADJUST HEADBAND TO FIT

- ADJUST FRONT OF HEADBAND FRAME UP OR DOWN FOR BEST FIT AND ENSURE CLEAR SHIELD COVERS MOUTH